## Slide 1
ELI Summer School 2019
Dolní Břežany, 25-30 August, 2019
ELI-ALPS Overview
Dimitris Charalambidis
Chief Scientific Advisor

## Slide 2
The ELI Project
The three pillars, ELI-DC & the initial vision
ELI-DC
The consortium coordinating the implementation of the three pillars & the establishment of the ELI-ERIC
UHFS
Ultra-High-Field Science
@ unprecedented laser field strength (location: to be decided later)
ELI-ALPS Szeged
Hungary
Investigations of ultra-fast dynamics @ attosecond & nm spatiotemporal scales
ELI-BL Dolni Brezany
Czech Republic
Applications of ultra-short pulses of high-energy particle & radiation beams
ELI-NP Magurele
Romania
Ultra-intense laser & brilliant gamma/neutron beams enabling photonuclear studies

## Slide 3
fast electronics
camera diaphragm
time / seconds
as
age of the
universe
molecular vibration & chemical reaction
electronic motion & e-e correlations
coupling to the vacuum & molecular rotation
visible object motion
age of the
mankind
planet orbiting & rotation
optical technologies
VUV/x-ray techniques
stop watch
What for attosecond
Time scales of phenomena & how to capture motion

## Slide 4
(x2·m/t~ ħ)
xatom~1Å, mel ~ 10-30kg, ħ~10-34 J·s
tel ~ 100 attoseconds!
(1atto=10-18)
The uncertainty principle
Å scale confinement  asec motion times
x·p ~ ħ/2

## Slide 5
The superposition principle
Attosecond pulses  ultra-broad spectrum
1/2 = 80as
1/2 1016 Hz
(10 as)
(1017 Hz)
tpulse  -1
Attosecond pulses have to be VUV,XUV or x-ray pulses!

## Slide 6
The diffraction principle
The XUV/x-ray bonus: high spatial resolution

XUV (~100eV) | ~10-20nm
Soft x-rays (~0.5-1keV) | ~1-2nm
Hard x-rays (~10keV) | ~1Å
XUV (~100eV) | ~10-20nm
Soft x-rays (~0.5-1keV) | ~1-2nm
Hard x-rays (~10keV) | ~1Å
r

## Slide 7
The scientific mission of ELI-ALPS
Visualizing structural ultrafast dynamics

## Slide 8
The scientific mission of ELI-ALPS
Visualizing structural ultrafast dynamics
Calculation by
Fernando Martin
& Alicia Palacios
Phenylalanine
Video from: F. Calegari et al. Science 346, 336 (2014)
Visualizing ultrafast structural dynamics
XUV
X-ray

## Slide 9
Schematics of ELI-ALPS
Lasers, Secondary Sources, End-stations
Primary sources
(laser beams)
Secondary sources
(attosecond pulses, particles, THz, MIR)
Experiments
BEAM DELIVERY
Single cycle (SYLOS) laser:
By 2019-20: 1 kHz, >100 mJ, < 5 fs, VIS-NIR, CEP
In 2017: 1 kHz, >45 mJ, < 10 fs, VIS-NIR, CEP
High field (HF) laser:
By 2024-25: 10 Hz, >2 PW, <10 fs
By 2018: 10 Hz, >2 PW, <17 fs
Mid-infrared (MIR) laser:
By 2024-25: 10 kHz, > 10 mJ, < 2 cycles, 4 µm-8 µm
In 2017: 100 kHz, > 150 µJ, < 4 cycles, 2.3 µm-3.8 µm
Terahertz pump laser:
By 2020-21: 100 Hz, > 1 J, < 0.5 ps, 1.5 µm-2 µm
By 2018: 50 Hz, > 500 mJ, < 0.5 ps, 1.03 µm
Low
shielding
MIR
THz1: spectroscopy
Medium
shielding
Particle1: e- SYLOS
Atto5: SHHG SYLOS
High
shielding
Particle2: ion HF
Atto6: SHHG HF
Particle3: e- HF
Condensed matter physics
THz spectroscopy
Source develpoment
Plasma physics
Radiobiology
Nanophysics, materials science
High resolution imaging
THz2: high energy
Atto4: GHHG SYLOS
Atto3: GHHG SYLOS
Atto2: GHHG HR
Atto1: GHHG HR
Attosecond studies in atomic and molecular physics
High repetition rate (HR) laser:
By 2019-20: 100 kHz, > 5 mJ, < 6 fs, VIS-NIR, CEP
In 2017: 100 kHz, > 1 mJ, < 6,2 fs, VIS-NIR, CEP

## Slide 10
Laser halls
Low-shielded
Target Area (LTA)
Medium-shielded
Target Area (MTA)
Vibration isolation VC-E (ASHRAE)
Temperature and relative humidity
21°C (±0.5°C), 35±5% (tunable).
Clean room environment.
ISO 7 & ISO 8
High-shielded
Target Area (HTA)
Experimental areas
Laser halls, LTA, MTA, HTA
HR GHHG GP
HR GHHG CM
1kHz GHHG compact
1kHz GHHG long
PW
SYLOS
SYLOS al
MIR
HR1
e-
1kHz SHHG
PW SHHG
PW e-
THz
Ions

## Slide 11
 | Parameters | Status | Operation / due date
HR1 | 1.030.9 m, 100 kHz, 40 fs, 1.5 mJ 1,03 m, 100 kHz, <7 fs, 1 mJ, CEP<100 mrad | Operational Installation | since October 2018 by September 2019
HR2 | 1.03 m, 100 kHz, <6 fs, 5 mJ, CEP<100 mrad | In development | by November 2019
MIR | 2.8-4 μm, 100 kHz, <40 fs, 0.15 mJ, CEP<100 mrad | Operational | since October 2017
SYLOS | 0.9m, 1 kHz, <6.5 fs, >30 mJ, CEP<250mrad 0.9m 1 kHz, <6.5 fs, >105 mJ, CEP<250mrad | Operational In development | since 13th May 2019 by Fall 2020
SYLOS alignment | 0.85m10 Hz, <12 fs, >40 mJ, ~850 nm | Operational | since January 2019
HF PW | 0.8 m, 10 Hz, <17 fs, 34 J | Installation | end 2020
THz Pump | 1 kHz, 100 fs, 1 mJ 1 m, 50 Hz, <0.5 ps, 0.5 J | In development | July 2019 by July 2020
Lasers
Parameters & Status

## Slide 12
Primary sources
The HR I, II Laser Systems
Wavelength 1030 nm
Energy 1mJ, >5 mJ
Pulse duration 40fs, <6 fs
Rep.rate 100 kHz
CEP stability <100 mrad
Energy stability 0.8%
Strehl ratio 0.9
IAP FSU Jena + Fraunhofer IAF + Active Fiber Systems GmbH
TDR: completed December 2017
Commissioning @ ELI-ALPS:
HR1: commissioned Oct 2018
Short pulse operation: Sept 2019
HR2: Nov 2019

## Slide 13
HR GHHG beamline I
Gas/liquid phase experiments
100 kHz Rep rate
Versatile design
By A. Kuleff
Methylamidated diglycine
Porphyrin
Nitrosobenzene
@ ALPS with improved statistics
&
Fast structural changes during
proton transfer
isomerization
motion through conical intersections
selective bond breaking by charge localization
……………..
F. Calegari et al.
Science 346, 336 (2014)
H.-J. Wőrner et al.
Science 350, 790 (2015)
++NH2-CHR
from aminoacid phenylalanine

## Slide 14
Developers: CNR-IFN Milano / Padua, Italy
first attosecond pulse: June 2019
user ready: Dec 2019
HR GHHG beamline I
Spectrum and Rabbit measurements

## Slide 15
HR I laser commissioning experiments
Liquid phase dynamics
This & other future experiments are part of the recently approved ERC consolidator grant of Prof. H.-J. Wőrner
Specification exploited: 100 kHz Rep rate
“User”:
Prof. Hans-Jakob Wőrner, ETH, Zürich
in collaboration with ELI-ALPS’s team
Project:
Study of dynamics in liquid phase (liquid microjets)
Started:
January 2018
Means:
ELI-ALPS:HR laser,
ETH: GHHG, liquid target jet,
detection system

## Slide 16
HR I laser
Attosecond dynamics in liquid phase
photoionization delay
Ionization delay 
 =(69  20) as
Previous results
Measure attosecond photoemission delays:
At higher photon energies
Angle-resolved measurements
First attempts to
observe and
time-resolve intermolecular Coulombic decay in liquid water
Goals of ELI-ALPS experiment

## Slide 17
HR I laser
Attosecond beamline & ALPS HR I laser
HHG target @ ELI
The ETH Zurich team
Hans Jakob Wörner, Arohi Jain, Thomas Gaumintz, Andreas Schneider
Laser
HHG

## Slide 18
HR GHHG source II
Surface science & CM experiments BL
Developers: CNR-IFN Milano / Padua, Italy
first attosecond pulse: Dec 2019
user ready: Apr 2020
Equipped with a delay-compensated
XUV monochromator and a NanoEsca ens-station

## Slide 19
HR GHHG source II
Surface science & CM experiments BL
Real and k-space mapping
Band structure
Spin diagnostics
Magnetic imaging
Plasmonics
ARPES
with
Energy (few tens of meV), spatial (nm) & temporal (fs/asec) resolution
Collaboration with: Univ. of Kaiserslautern, Univ. of Göttingen
CM and surface science end-station providing
PEEM
Electrostatic analyzer
Spin filter
Time of flight
Sample preparation chamber (with LEED, XPS, sample manipulators)
Nano-ESCA end-station
Developers:
Scienta-Omicron,
Focus Gmbh
user ready: Dec 2019

## Slide 20
10µm
P. Melchior et al.,
Phys. Rev. B 88, 104415 (2013)
Magnetic Imaging
400 nm
Melchior et al., AIP Conference Proceedings,
1398, 9-13 (2011)
Plasmonics
200mÅ-1
ky
kx
Ekin
200 meV
Resolution: Δk ≈ 20 mÅ-1
k Space – Au(111) surface state
By Philip Thielen http://www.physik.uni-kl.de/
aeschlimann/
HR (100kHz) GHHG beamline II
Condensed Phase/Surface Science Experiments

## Slide 21
HR GHHG source II
Surface science & CM experiments BL
J.Y. Bigot et al. (1998)
Femtomagnetism
NanoEsca + Spin Filter
100kHz
VUV
Condensed Mater & Surface Ultrafast Dynamics
Science 355, 1187 (2017)
Sub-fs dynamics
in nanoplasmonic vortices

## Slide 22
Primary sources
The MIR Laser Systems
Wavelength 2.3 µm-3.8 µm
Pulse duration <4 cycles
Pulse energy 150 µJ
Rep.rate 100kHz
Energy stability 0.7% rms
CEP drift 65 mrad rms
ASE contrast >106
Strahl ratio >0.7
Fastlite + ELI-ALPS
Delivered: October 2017
Fully commissioned: January 2018
energy
CEP

## Slide 23
Mid IR laser-matter interactions
The benefits
Keldysh l-1.I-1/2 tunneling regime
Up l2.I
HHG cutoff l2.I keV photons
Ee l2.I LIED
tattosecond l-1/2 shorter XUV pulses
Atto chirp l-1
Ip
Ek,out~0
Ek,max
Ek~0

## Slide 24
Mid IR laser applications
Some examples from other labs
Advanced gas and CM HHG source
(water window/keV harmonics)
Laser Induced
Electron Difraction
(taking molecular selfies)
Jens Biegert
(Nature Commun. 6, 661 (2015); Nature Commun. 7, 11493 (2015))
Jens Biegert (Nature Commun. 6, 661 (2015); Nature Commun. 7, 11493 (2015))

## Slide 25
The classical (wave) spectrometer Principle: Diffraction or refraction
The quantum (photon) HHG spectrometer Principle: Photon statistics
“Creation” of one n-th order harmonic photon results from “annihilation” of n laser photons
Statistics of the missing laser photons reveal the harmonic spectrum
Mid IR laser commissioning experiments
The quantum-spectrometer (QS)

## Slide 26
Mid IR laser commissioning experiments
Band gap material HHG QS
mid-IR
λ=3.2 μm
IL≈ 5 x 1011 W/cm2
ZnO 500μm thick

## Slide 27
Mid IR laser commissioning experiments
The quantum-spectrometer results
1st User paper from ELI-ALPS

## Slide 28
Mid IR laser commissioning experiments
He droplet ionization (on going)
Mid-IR laser photoionization of He droplets
“User”:
Prof. Marcel Mudrich (Univ. of Aarhus) & Prof. Frank Stienkemeier (Univ. of Freiburg)
Project:
„Study of photoionization of Helium dropplets of different size and, eventually with different dopant atoms (usually alkali atoms)”
Observation of the initial ionization process, charging process and the Coulomb explosion of the clusters that proceeds when using the long wavelenght pulses.
Image (using a VMI) the photoelectron and photoion angular distributions
Panned:
July-August 2018
Means:
ELI-ALPS:Mid-IR laser,
User: Experimental workstation

## Slide 29
Mid IR laser
Laser Induced Inner Shell x-ray Fluorescence
«User »: Prof Gilad Marcus, The Hebrew University at Jerusalem
Implemented: Sept 2018
PRL 116, 073901 (2016)
Ne K-shell and Kr L-shell + continuum
Obtained spectra
Means:
ELI-ALPS: Mid-IR laser, vacuum pumps
Gilad Marcus: Neon jet, vacuum chamber
X-ray spectrometer

## Slide 30
Mid IR laser commissioning experiments
Feasibility study of GHHG
October 2017
100 kHz, > 150 µJ,
< 4 cycles, 2.3 µm-3.8 µm
Harmonic generation in gas
Gas jet
Collaboration with CEA Saclay (T. Ruchon)
HHG cutoff, Upl2I  high photon energies
XUV Spectrometer
MIR-ALPS
Dispersion management / polarization gating
Planned: June 2018

## Slide 31
Primary sources
The SYLOS “alignment” Laser Systems
Central  900 ±10 nm
Pulse duration <50fs
Pulse energy >40mJ
Rep.rate 10Hz
Energy stability <2.0%
ASE contrast >106
Strahl ratio >0.7
EKSPLA
TDR: completed December 2017
Delivered: November 2018
Fully commissioned: December 2018
For pre-aligment & optimization
of the 4 SYLOS driven beamlines

## Slide 32
SYLOS alignment and SYLOS Systems
The transmutation project proposed by
T. Tajima & G. Mourou
Project: Transmutation of TransUranic Minor Actinide (Np, Am, Cm) spent nuclear waste via “cheaply” produced 14 MeV neutrons generated via DT or DD fusion reactions
Driven 100 keV deuteron acceleration by ultra-short, ultra high rep. rate lasers (SYLOS)
Phase 1:
Acceleration of deuterium nuclei to
~100 keV by the SYLOS laser.
@ 100 keV the DT fusion reactions
cross-section is maximised.
Phase 2:
Creation of copious amounts of DT (or DD)
fusion neutrons by the deuterium beams
@ a Tritiated (or Deuterated) target
(>1012-1013 neutrons/laser shot)
Phase 3:
Transmutation to safe radiotoxicity levels and volumes
of TRU spent nuclear waste interacting with the isotopically
emitted neutrons
«User »: Prof Karoly Osvay, University of Szeged
Means: ELI-ALPS: SYLOS laser systems, Univ. of Szeged experimental set-up

## Slide 33
Primary sources
The SYLOS 2a, 2b Laser Systems
Pulse energy 30 & 105 mJ
Pulse duration <10 & 6.5 fs
Rep.rate 1kHz
CEP stability 250 mrad
Energy stability <1.0%
ASE contrast 1010
Strehl ratio >0.7
Central  910 nm
Beam  60 mm
ELI-ALPS + Light Conversion +EKSPLA
TDR: completed December 2017
SYLOS 2a: commissioned: May 2019
SYLOS 2b: Fall 2020

## Slide 34
mechanical assembly: completed
optical assembly: ongoing
first attosecond pulse: Dec 2019
user ready: Apr 2020
Developers: FORTH Heraklion, Greece
The SYLOS GHHG “compact” beamline
Gas Phase Experiments
ReMi
MBES
f = 3, 6, 9 m
QPM-GHHG
PG
NL XUV
IR-XUV
Generation
Separation

## Slide 35
SYLOS GHHG “compact” BL proposals
Non-linear processes in the XUV/XUV-pump-XUV-probe
20m
Requires
Reaction Microscope for two-electron (p1 and p2) coincidences
High XUV intensities (1015- 1016 W/cm2)
High rep rate (>1kHz)
High temporal resolution (~100 asec)
Uniquely available @ ELI-ALPS
K. Ishikawa et al. Phys. Rev. A 72, 013407 (2005)
He double ionization
Molecular coupled dynamics
Collaboration with:
Univ. Heidelberg, FORTH, Univ. Freiburg

## Slide 36
SYLOS GHHG “long” Beamline
Non-linear processes in the XUV/UV-pump-XUV-probe
mechanical assembly: Nov 2019
optical assembly: Feb 2020
first attosecond pulse: May 2020
user ready: Oct 2020
VMI
ReMi
Developer: Lund University, Sweden

## Slide 37
Pump-probe options
XUV + XUV
XUV + IR
XUV + XUV + IR
XUV + XUV + IR + IR / SHG / THG / VUV / XUV
50 m
Unique elements of SYLOS GHHG BLs
1kHz
10-100eV
5J - 0.5nJ
APTs & isolated
SYLOS GHHG “long” BL proposals
Non-linear processes in the XUV/UV-pump-XUV-probe
e-
HHG XUV probe (20 eV)
H3C
N
H
O
H
O
N
H
O
N
H
CH3
O
N
H
CH3
O
N
H
t
3H UV pump
(4.5 eV)
Few femtosecond resolution using HHG and synchronized 3rd harmonic
2) e- emission variation depending on the
delay delay after the excitation
UV-XUV pump-probe on aminoacids’ chains
Collaboration with: Univ. of Lund, Univ. Freiburg

## Slide 38
SYLOS GHHG beamlines
Expected pulse energies
O. Jhan et al., Optica (2019) (in press)

## Slide 39
Recent developments
The 20-GW HHG source of the asec S&T lab @ FORTH-IESL
XUV pulse energy 230µJ (Xe), 130µJ (Ar) (one jet 135 & 75µJ)
0.7 ·1014 photons/pulse!! (FEL number of XUV photons!!!)
Focused intensity if low loss XUV optics would be used: ~1017 W/cm2
Maximum focused intensity in this experiment: ~7·1015 W/cm2
Conversion efficiency per harmonic, one jet: 1·10-3 (Xe), 2·10-4 (Ar)
Preliminary ATP pulse duration: ~0.5fs
A. Nayak et all. Phys. Rev. A 98, 023426
20m
Focusing optics chamber
HHG chamber
XUV-IR separation & beam wavefront/ XUV delay line
splitter chamber
XUV beam manipulation
Chamber (irises, filters, toroidal mirror systems)
2nd Experimental chamber
Experimental chamber
(Split spherical mirror XUV-pump-XUV-probe facility)
FO.R.T.H. - I.E.S.L.

## Slide 40
Research through secondments
Multi-GHHG-photon multiple ionization
Numerical calculations by
H. I. B. Banks & A. Emmanouilidou
A. Nayak et all. Phys. Rev A 98, 023426 (2018) https://link.aps.org/doi/10.1103/PhysRevA.98.023426

## Slide 41
Other ELI-ALPS Secondary Sources
The SYLOS driven SHHG beamline
SYLOS driven
The first 1 KHz SHHG source !
to be contracted: Nov 2019
operational: Nov 2021

## Slide 42
Other ELI-ALPS Secondary Sources
The PW driven SHHG Beamline
to be contracted: Apr 2020
operational: Apr 2022
Spectrum cut-off 500eV – 1 keV
Output energy 70mJ (all orders 10<n< 20)
700 J (orders >20)
SHHG pulse duration <100 asec for ROM
< 200 asec for CWE

## Slide 43
PW driven SHHG source proposals
Multiphoton Inner Shell Processes
Two-photon K-shell ionization cross-sections & ionization energies of H-like ions
Two-photon K-shell, single-photon L-shell single photon K-shell ionization probability of H-like Be and B
Requires
High XUV intensities (1017- 1018 W/cm2)
High temporal resolution (~ sub-100 asec)
Potentially available @ ALPS’s XUV sources

## Slide 44
Laser driven electron acceleration
Examples of applications of other labs
Cole et al. Scientific Reports 5, 13244 (2015)
  Betatron radiation tomography

## Slide 45
In house services for operation & users
Workshops & Laboratories
Mechanical and electrical workshops
Optical preparation laboratory
Optical workshop for custom optics and coatings

## Slide 46
National users’ collaborative projects Experiments of Wigner RC @ ELI-ALPS
Developing ultrafast nanooptical
circuitry (Dombi-group)
B. fs stimulated Raman spectroscopy
endstation (Veres-group)
C. Time-resolved investigation of
functional molecules (Vankó-group)
D. Acceleration of negative ion and
neutral atom beams (Dzsotjan-group)

## Slide 47
National users’ collaborative projects Experiments of BRC @ ELI-ALPS
ωa
ωb
ωc
k1
k2
excitation
ωa
ωb
ωc
ωc
ωb
ωa
detection
E
E
0.3 ps
0.3 ps
2 ps
4 ps
12 ps
6 ps
Nonadiabatic processes
Long leaving Quantum coherences
Akhtar et al.,
J. Biol. Chem. B 123:6765 (2019)

## Slide 48
1st User paper from ELI-ALPS
3 Laser systems already commissioned
+ 3 systems foreseen till end 2019
ELI ALPS
Achievements
1st RABBITT Signal
20/06/2019
Chart: ELI-ALPS Publications in Refereed Journals
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
 | 15 | 21 | 52 | 65 | 59 | 36
Chart: Headcount
| 2013.12 | 2014.06 | 2014.12 | 2015.06 | 2015.12. | 2016.06. | 2016.12. | 2017.06 | 2017.12 | 2018.06 | 2018.12 | 2019.06
Number of Researchers | 23 | 55 | 77 | 102 | 111 | 130 | 134 | 147 | 152 | 154 | 154 | 159
Chart: Full Time Equivalent
| 2013.12 | 2014.06 | 2014.12 | 2015.06. | 2015.12. | 2016.06. | 2016.12. | 2017.06. | 2017.12 | 2018.06 | 2018.12 | 2019.06
FTE | 13 | 36 | 60 | 71 | 74 | 98 | 110 | 125 | 126 | 137 | 138 | 137.9
August, 2019 | headcount | FTE
researchers | 94 | 79.3
research engineers | 34 | 31.9
technicians | 13 | 12.1

## Slide 49
Collaborative commissioning
users’experiments
User access until Sep 2019: 180 days
Up-coming projects

## Slide 50
Open commissioning user call
https://www.eli-alps.hu/en/Users-and-Calls-1/Calls-1
www.eli-alps.hu

## Slide 51
Organizational chart
Scientific & Research Technology Directorates
Attosecond and Strong Field Science Division
Sandor Varro
division head
AMO and Quantum Optics Theory Group
Sandor Varro
Charge Dynamics in
(Bio)materials Group
Sophie Canton
Computational Materials Science Group
Mousumi
Upadhyay Kahaly
Laser Plasma Group
Sargis Ter-Avetisyan
Dimitris Charalambidis
Chief Scientific Advisor
Giuseppe Sansone
Scientific Advisor
Katalin Varju
Research Technology Director
Particle and Terahertz Sources Division
Christos Kamperidis
division head
Daniel Papp
deputy division head
Electron Acceleration Group
Nasr Hafz
Ion Acceleration Group
Terahertz Source and Applications Group
Jozsef Fulop
Research Technology Service Division
Gergo Meszaros
division head
Electrical
Workshop
Viktor Varkonyi
Mechanical Workshop
Zoltan Vajna
Optical Preparatory Workshops
Gergo Meszaros
Vacuum Technology and Equipment Assembly Group
Arpad Mohacsi
Engineering and Integration Division
Lajos Fulop
division head
Electrical Engineering Group
Ferenc Horvath
Infrastructure Liaison Group
Andras Makai
Mechanical Engineering Group
Andras Makai
Software Engineering Group
Lajos Schrettner
Laser Infrastructure Division
Adam Borzsonyi
division head
High Field Laser Group
Mikhail Kalashnikov
High Repetition Rate Laser Group
Peter Jojart
Mid-Infrared Laser Group
Balint Kiss
Single-Cycle Laser Group
Adam Borzsonyi
Scientific Applications Division
Peter Dombi
division head
Csaba Janaky
deputy division head
Biomedical Applications
Group
Katalin Hideghety
Surface Dynamics Group
Laszlo Ovari
Ultrafast Dynamics and Reaction Control Group
Viktor Chikan
Ultrafast Nanoscience Group
Peter Dombi
Attosecond Sources
Division
Subhendu Kahaly
acting division head
HR Attosource Group
Miklos Fule
Surface Plasma Attosources Group
Subhendu Kahaly
SYLOS Gas Attosources Group
Sergei Kuehn
Diagnostics and Applications
of Attosources Group
Balazs Major
Rodrigo Lopez-Martens
Scientific Advisor
Karoly Osvay
Scientific Advisor

## Slide 52: THANK YOU !