## Slide 1
Atomic Diagnostic for
Ultrahigh Intense Laser Pulses
Marcelo Ciappina
ELI-Beamlines, Institute of Physics
Czech Academy of Sciences
Prague, Czech Republic
ELISS’ 19, 30/09/2019

## Slide 2
  Moderate intensities<1015 W/cm2
Introduction
Intensity regimes for optical and infrared wvln
  Intermediate intensities~1015~1017 W/cm2
  High and ultrahigh intensities >1018 W/cm2
“easy”: single ionization yield, photoelectron spectra, high-order harmonic generation (HHG)
“problematic”: competition between sequential and non-sequential ionization (recollision driven), “knee” in the ionization yield
“easy?”: multiple sequential ionization, magnetic field prevents recollision, relativistic effects?
New: relativistic Thomson scattering?

## Slide 3
Motivation:
Ultrahigh intensities to be reached soon
 | 1PW | 3PW | 10PW
100 μm | 1019W/cm2 | 31019W/cm2 | 1020W/cm2
10 μm | 1021W/cm2 | 31021W/cm2 | 1022W/cm2
1.3 μm | 71022W/cm2 | 21023W/cm2 | 71023W/cm2

## Slide 4
Motivation
Will we be able proving this?
V. Yanovsky et al., Opt. Exp.16, 2109 (2008)

## Slide 5
Motivation
Will we be able confirm these intensity values?
Which strong-field processes can be used for a
  straightforward
  quantitatively precise and
  unambiguous
measurement of ultrahigh intensities in a laser focus?

## Slide 6
How can we affirm that a certain value of intensity has been achieved?
Which strong-field processes can be used as simple, straightforward and unambiguous measures of ultrahigh intensities in a laser focus?
  Acceleration of ions and electrons in laser-plasma interactions
  Manifestations of radiation reaction effects
  Radiation of probing particles in a laser focus

## Slide 7
Which strong-field processes can be used as simple, straightforward and unambiguous measures of ultrahigh intensities in a laser focus?
  Acceleration of ions and electrons in laser-plasma interactions
  Manifestations of radiation reaction effects
  Radiation of probing particles in a laser focus
  Multiple ionization of atoms
How can we affirm that a certain value of intensity has been achieved?

## Slide 8
Strong-field ionization as a probe of intensity
Why ionization?
  local in time and space
  sensitive mostly to the electromagnetic field amplitude and much less to the pulse duration and not at all to its total energy
  highly nonlinear: a small change in intensity results in a considerable variation of the ion or photoelectron signal

## Slide 9
Strong-field ionization as a probe of intensity
Why ionization?
  local in time and space
  sensitive mostly to the electromagnetic field amplitude and much less to the pulse duration and not at all to its total energy
  highly nonlinear: a small change in intensity results in a considerable variation of the ion or photoelectron signal
Further advantages:
  the theory requires almost no model assumptions or approximations
  “easy to implement” in experiment

## Slide 10
  adiabaticity: no e-e correlation effects on ionization
Single-electron or correlated?

## Slide 11
Relativistic or nonrelativistic?
  adiabaticity: no e-e correlation effects on ionization
  tunneling remains nonrelativistic up to 1026W/cm2!

## Slide 12
Sequential nonrelativistic static-field ionization
A.M. Perelomov, V.S. Popov, M.V. Terentyev, Sov. Phys. JETP 23, 924 (1966)
B.M. Karnakov, V.D. Mur, V.S. Popov, JETP Lett. 66, 229 (1997)– relativistic version

## Slide 13
Sequential nonrelativistic static-field ionization
+10
0
-10
-20
0
0.04
0.06
0.02
0.08
0.10

## Slide 14
Intensity-dependent ionization offset

## Slide 15
Intensity-dependent ionization offset
1019
1020
1021
1022
1023
2
4
6
8
10
12
14
Nonrelativistic
With relativistic corrections

## Slide 16
Ionization potential, eV
1020
1021
1022
1023
1024
Intensity, W/cm2
Ar17+
Ne9+
Kr35+
Kr28+
Kr34+
Kr33+
Xe46+
Xe48+
Xe51+
Intensity-dependent ionization offset

## Slide 17
Ionization potential, eV
1020
1021
1022
1023
1024
Intensity, W/cm2
Ar17+
Ne9+
Kr35+
Kr28+
Kr34+
Kr33+
Xe46+
Xe48+
Xe51+
Ag46+
Mo41+
Cu28+
As32+
Y38+
Rh44+
Intensity-dependent ionization offset

## Slide 18
Experimental realization
Ionization of low-pressure neutral gases with subsequent TOF detection of different charge states
Ionization of many-electron atoms at intensities above 1019W/cm2
E.A. Chowdhury et al., Phys. Rev. A 63, 042712 (2001)
K. Yamakawa et al., Phys. Rev. A 68, 065403 (2003)

## Slide 19
Ionization of low-pressure neutral gases with subsequent TOF detection of different charge states
    background pressure 10-4 – 10-7 Torr: no plasma or other collective effects: might be not enough atoms in the case of a very tight focusing;
    a target consisting of neutral atoms: chains of rate equations have to be solved – can be demanding!
    focal averaging: a broad distribution in charge states
Experimental realization

## Slide 20
Ionization cascades
Ne
Ar8+
Kr26+
Xe44+

## Slide 21
Reduced ionization cascades
Ne4+
Ar12+
Kr30+
Xe48+

## Slide 22
Ionization cascades
…
Kr30+
M. F. Ciappina et al, Phys. Rev. 94, 043405 (2019)

## Slide 23
Initial-condition-independent cascades
M. F. Ciappina et al, Phys. Rev. 94, 043405 (2019)
I=1022 W/cm2
Argon

## Slide 24
Initial-condition-independent cascades
Argon
Ar16+ ––– 0.27*1020
Ar18+ ––– 3.0*1021
M. F. Ciappina et al, Phys. Rev. 94, 043405 (2019)

## Slide 25
Focal averaging

## Slide 26
Conclusions
Advantages:
    Numerically cheapest and experimentally most straightforward method
    Relatively high accuracy for that intervals of intensity which are densely covered by ionic states
    No intensity limitations are imposed

## Slide 27
Conclusions
Advantages:
    Numerically cheapest and experimentally most straightforward method
    Relatively high accuracy for that intervals of intensity which are densely covered by ionic states
    No intensity limitations are imposed
Difficulties:
    Gaps in intensities which cannot be covered by noble gases
    For a large focal volume the signal will be oversaturated by low charge states

## Slide 28
Conclusions
Advantages:
    Looks as the numerically cheapest and experimentally most straightforward method
    Relatively high accuracy for that intervals of intensity which are densely covered by ionic states
    No intensity limitations are imposed
Difficulties:
    Gaps in intensities which cannot be covered by noble gases
    For a large focal volume the signal will be oversaturated by low charge states
Do we have ultra-high intensities to measure?

## Slide 29
Acknowledgments
    ELI-Beamlines (ADONIS Grant)
    Dr. Sergey Popruzhenko
    Dr. Stefan Weber, Dr. Georg Korn
    Prof. Sergei Bulanov

## Slide 30
Thank you very much