## Slide 1
Ultrafast nanoscience @ELI-ALPS
Péter DOMBI
head of Scientific Applications Division

## Slide 2
electric field nanolocalization with plasmons
100 nm
Important properties:
Nanoscale localization of electric field of light
Field enhancement … … but how much exactly?

## Slide 3
plasmon field control with nanoparticle geometry
EM field nanolocalization
Field enhancement: as much as x1000 (!)

## Slide 4
importance of nanooptical/plasmonic near-fields
applications in:
surface enhanced Raman scattering
photovoltaics
plasmonic sensors
cancer therapy, nanosurgery
nanostructured photocathodes
etc.

## Slide 5
builiding ultrafast nanooptical devices for signal processing, switching etc.
few-cycle laser pulses are highly important e.g. in attophysics // Can we make few-cycle plasmon wavepackets?
motivation: ultrafast plasmonic devices

## Slide 6: Field enhancement and dynamics probing of nanooptical switching architecture
~20 nm
(not to scale)
out
1
1
1
0
1
0
0
1
0
in
mod

## Slide 7
electric field nanolocalization with plasmons
important properties:
nanoscale localization of electric field
field enhancement …
… but how much exactly?
Notes: needless to say that in addition to…

## Slide 8
a challenge
can we measure the absolute plasmonic field enhancement value for any metallic surface sample
with an ultrafast tool
in a direct, robust, non-destructive manner?
(different than mapping)

## Slide 9
an earlier experiment
Dombi et al., Nano Lett. 13, 674 (2013)
80-fs laser pulses
5 kHz repetition rate
Time-of-flight electron spectrometer
Ultrafast photoemission into plasmonic field

## Slide 10
plasmon resonance strongly influences electron spectra
laser spectrum
Dombi et al.,
Nano Lett. 13, 674 (2013)

## Slide 11
can we use these electron spectra to extract absolute field enhancement values?
the question

## Slide 12: 1. Near-field probing with ultrafast electrons 2. Time-resolved probing

## Slide 13
approach for measuring field enhancement
fs near-field stimulates photoemission
spectra of photoelectrons can be measured
photoelectrons rescattered at the surface have the highest kinetic energy
4. Qmax = 10,007 e2λ2Eloc2 / (16 2mc2)
5. rescattering takes place in nanometric volumes
Near field maximum can be measured with photoelectrons
Notes: …Well-known it atomic physics as ATI, however, its counterpart with the photoemission from solids has not been exploited so far for any practical application

## Slide 14
electron oscillation amplitude <0.7 nm before rescattering
Qmax = 10,007 e2λ2Eloc2 / (16 2mc2)
also for nanotips:
Thomas et al., Nano Lett. 2013

## Slide 15
measuring field enhancement on test nanosurfaces
Qmax = 10,007 e2λ2Eloc2 / (16 2mc2)
Rácz et al., Nano Lett. 17, 1181 (2017)

## Slide 16
Validation
Rácz et al., Nano Lett. 17, 1181 (2017)

## Slide 17
36.1 vs. 31.7
51.2 vs.50.5
Rácz et al., Nano Lett. 17, 1181 (2017)
← experiment vs.
simulation
Validation

## Slide 18
FDTD validation
Edge/corner radii
according to SEM images
No fitting parameters!
Rácz et al.,
Nano Lett. 17, 1181 (2017)

## Slide 19
what can we use this tool for? – plasmon-plasmon coupling
localized
plasmon
light
propagating plasmon
electrons probing field enhancement…
…and thus
plasmon-plasmon
coupling

## Slide 20
J. Budai et al., Nanoscale 10, 16261 (2018)
Coupling between propagating and localized modes

## Slide 21
Field enhancement (FE) contributions
from localized and propagating plasmons
J. Budai et al., Nanoscale 10, 16261 (2018)
Localized plasmon
Propagating plasmon
Smooth, experimental
FE = 20
Rougher, experimental
FE = 22
Roughest,
experimental
FE = 31

## Slide 22
Resonance of localized plasmon contribution

## Slide 23
J. Budai et al., Nanoscale 10, 16261 (2018)
Dipole contribution to near-field
Field of a dipole
Field 20 nm above surface grain

## Slide 24: 1. Near-field probing with ultrafast electrons 2. Time-resolved probing

## Slide 25
narrow extinction
broad extinction
pol.
Time-resolved probing of few-cyle plasmon transients

## Slide 26
Experimental scheme
5.5 fs
80 MHz
Photoemission nonlinearity:
Work function: ~5 eV
Photon energy: 1.3-2 eV
Effective nonlinearity: ~3.3

## Slide 27: Time-resolved probing of few-cyle plasmon transients
narrow extinction
broad extinction
pol.

## Slide 28
Reconstruction of plasmon transient
measured
reconstructed
8-fs plasmon
transient

## Slide 29
Condensed matter user endstation

## Slide 30
imaging with a broad range of field of views (2.5 mm-1 mm)
resolution down to 50 nm or better
real time imaging of the surface.
Lenses project a magnified image of the sample to a 2D detector.
The condensed phase/surface science end station
Core capability: photoemission electron microscopy (PEEM)
The sample, illuminated by ultrashort NIR and/or XUV pulses is the electron source for the electron microscope optics.
Nanoesca system of Scienta Omicron

## Slide 31
Small Spot Spectroscopy mode
High sensitivity single-spot spectroscopy using the channeltron for quantitative elemental analysis. A quick spectrum from the actual field of view.
Energy resolved imaging (Imaging ESCA mode).
The main lens projects the magnified image onto the analyzer entrance. The image information is energy filtered (energy resolution: 50 meV) by highly aberration correcting IDEA & projected onto a MCP/screen stack for camera based date acquisition.
Energy resolved PEEM
Nanoesca system of Scienta Omicron

## Slide 32
The electron optics can be set to image the momentum space: electrons originated from different sample points but departing at the same angle will reach the detected at the same point.
kx , ky ,E resolved and imaged
Real space k-space
Band structure of graphene
Local angle resolved photoemission (ARPES)
Electrons are collected from ~2p solid angle without any rotation of the sample
IDEA:
Imaging Energy Filter

## Slide 33: Summary
sub-nm sensitivity hot spot probing with photoelectrons
generation of few-cycle plasmon transients with off-resonant excitation
ultrafast device operation in complex plasmonic architectures
few-fs electron sources for electron microscopy
ELI-ALPS tools enhancing
ultrafast plasmonics research

## Slide 36: Time scales in solids
Energy bandwidth / eV
1
0.1
0.01
0.001
Time scale / fs
0.1
1000
100
10
Screening
Dephasing
e-e scattering
e-phonon scattering
1
Adapted from Petek, Ogawa, Progr. Surf Sci. 1997
Easily achievable laser pulse duration
Optical period at 800nm
Electron emission duration