## Slide 2: Miroslav Kloz Femtosecond spectroscopy at ELI Beamlines Probing and Driving (Bio)Molecular Dynamics with Femtosecond Pulses (wavelengths 200 – 1200 nm, energies below 1 mJ)

## Slide 3
Why femtosecond lasers in chemistry and biology?

## Slide 4
Light matter interaction reflects its quantum structure
ΔE = ħν

## Slide 6
as
fs
ps
ns
Scales of size and time are closely rerated!
μs
ms

## Slide 7
X-ray, electron (or other particles) experiments are practically
rarely at natural conditions
Time resolution is just emerging
Expensive, cannot be done at high throughput
Structure does not directly explain function

## Slide 8
Optical spectroscopy can explore matter at multiple levels in relatively non-invasive ways in a relatively cost effective manner.

## Slide 9: Pump probe experiments

## Slide 10
BLUF domain
Biological photo sensor
Using FAD
(Flavin Adenine Dinucleotide)
as cofactor
(biological APD…)

## Slide 11
Flavin,
Cofactor operating in visible
Visible
near UV
fs-ns

## Slide 12
Amino acids
UV
fs-ns

## Slide 13
Bond structure (vibration spectroscopy)
Mid IR
fs-μs

## Slide 14
Direct: (Ephoton = Etransition) (Mid Infrared)
Raman: ΔE = Etransition
ΔE
ΔE
E

## Slide 15
Backbone bulk modes
THz
ps - ms

## Slide 16
Parametric amplification allows converting pulses into other wavelengths

## Slide 17
Typical tuning curves

## Slide 18
High power VIS + near UV/IR
VIS + UV + IR
MID - IR
Ultrashort
shaped
spectrally narrowed

## Slide 19: Time window

## Slide 20: 1 fs = 0.000 000 000 000 001 s
~0.1 s
fastest process we can perceive by our senses
~2.5 x 109 s ~ Life of average men
~4.3 x 1017 s since
“Big Bang”
Femtosecond
Common life experience
Too slow
Too fast

## Slide 21
1 kHz Regenerative amplifier 1
1 fs < Δt < 1 ms
gate
1 kHz Regenerative amplifier 2
82 MHz oscillator seed
Modern femtosecond laser technology allows to scan 10 orders of magnitude of dynamic range in a single experiment

## Slide 23: 2D spectrocopy

## Slide 24
Too many combinations….
At certain size incomputable…

## Slide 25
Bump key
Lock picking
Time domain 2D
Frequency domain 2D

## Slide 26
Link to 3D structure is much more direct!
excite one
vibration…
Mapping GFP structure evolution during proton transfer with femtosecond Raman spectroscopy
Nature (12 November 2009)
Fang,...Mathies
…and observe effect on the other

## Slide 28
TOCSY spectra of a peptide
NMR
Photon echo of Fenna-Matthews-Olson complex
(Nature, 2007)

## Slide 29
fs-mid-IR
ps-Vis
“Conventional” 2D IR
Mixed
2D IR x Raman
ultrashort ~5fs vis
Raman in time domain
2D visible
Whole series of 2D spectroscopies can be run
In some cases even simultaneously.
X-ray Raman resonant with core electrons

## Slide 30: Pulse shaping

## Slide 31
Femtosecond pulse is stabilized superposition of continuous weaves

## Slide 32
Pulse shaping is like tuning to the exact melody to which the system responses

## Slide 33: Behavior of the molecule can be selectively affected

## Slide 35
Tvarovač pulzů

## Slide 36: Typical femtosecond set up